|  | Environmental Systems: Basic and Advanced Water Resources Youth Apprenticeship |
| --- | --- |

# ENVIRONMENTAL SYSTEMS: Basic and Advanced Water Resources

Environmental systems youth apprentices learn core skills needed by the water industry to promote protection, improvement, and sustainability of water resources.

Length of Apprenticeship:  One or two years

# occupational Competencies

Youth apprentices work with a job site mentor to demonstrate the following competencies.

Year 1: Youth apprentices must complete a total of 11 competencies. Ten must be from the list below. If necessary, employers can substitute 1 competency with another occupationally appropriate skill. That skill should be added to the competency list for assessment.

Year 2: Youth apprentices must complete a total of 12 competencies. Eleven must be from the list below. If necessary, employers can substitute 1 competency with another occupationally appropriate skill. That skill should be added to the competency list for assessment.

| YEAR 1 Competencies | YEAR 2 Competencies |
| --- | --- |
| - Interpret work order - Create work order - Monitor operating conditions, meters, pumps, and gauges - Collect operational data - Use operations software (such as SCADA, PLC, DBs) - Perform basic facility maintenance - Collect samples - Measure weight - Measure volume - Perform calculations and conversions - Conduct basic lab tests | - Assist with report submissions - Prepare chemicals - Add chemicals to systems - Perform start-up and shut down of pumps and equipment - Inspect operational equipment - Troubleshoot basic operations - Analyze lab results - Maintain schedules, communication, and documentation - Perform preventive maintenance (PM) - Calibrate equipment - Troubleshoot and repair equipment - Analyze operational data for productivity/trends |

# Registered Apprenticeship Bridging Opportunities

The following Registered Apprenticeship is available in this area:

- Wastewater Treatment Plant Operator

# Post-Secondary Pathway Opportunities

There are several post-secondary pathway opportunities in this area. Following is partial list.

- Water Quality Technician

- Environmental Engineering

|  | Environmental Systems: Basic and Advanced Water Resources Youth Apprenticeship On-the-Job Learning Performance Standards Guide (tO BE COMPLETED BY ya cONSORTIUM) |
| --- | --- |

# Youth Apprentice information

| Youth Apprentice Name |  |
| --- | --- |
| YA Coordinator | YA Consortium |
| School District | High School Graduation Date |

# Requirements

Level One Requirements

Youth apprentices must complete ALL the items listed below. Check completed areas.

Year 1 Competency checklist

Employability Skills checklist (in this OJL Guide) or the DPI Employability Skills Certificate

Related instruction equal to 1 high school credit or at least 3 college credits

Minimum of 450 work hours

Level Two Requirements

Youth apprentices must complete ALL the items listed below. Check completed areas.

Year 2 Competency checklist

Employability Skills checklist (in this OJL Guide) or the DPI Employability Skills Certificate

Related instruction equal to 2 high school credits or at least 6 college credits

Minimum of 900 work hours

# Hours

Record the hours the youth apprentice worked.

| Total Hours Employed | Company Name | Telephone Number |
| --- | --- | --- |

# Related Instruction

YEAR 1: Indicate which related instruction courses the youth apprentice completed.

| Dual Credit | Course Number and Title | Credits | Instruction Provider |
| --- | --- | --- | --- |

YEAR 2: Indicate which related instruction courses the youth apprentice completed.

| Dual Credit | Course Number and Title | Credits | Instruction Provider |
| --- | --- | --- | --- |

# SIGNATURES

The On-the-Job Learning Performance Standards Guide includes a list of competencies youth apprentices learn through mentoring and training at the worksite.

Instructions for the Worksite Employers/Mentors and School-Based or YA coordinators: This document should be reviewed with the employer/mentor, school-based or YA coordinator on a regular basis with the youth apprentice to record progress and plan future steps to ensure completion of the required competencies. Mentors, school-based/YA coordinator, and the apprentice sign below.

| Employer/Mentor Signature | Employer/Mentor Signature |
| --- | --- |
| Employer/Mentor | Employer/Mentor |
| Business/Company | Business/Company |
| Date Signed | Date Signed |
| School-Based and/or YA Coordinator Signature | School-Based and/or YA Coordinator Signature |
| School-Based and/or YA Coordinator | School-Based and/or YA Coordinator |
| School District or Organization | School District or Organization |
| Date Signed | Date Signed |
| Youth Apprentice Signature | Youth Apprentice Signature |
| Youth Apprentice | Youth Apprentice |
| School District / High School | School District / High School |
| Date Signed | Date Signed |

# employability Skills (TO BE COMPLETED BY yA EMPLOYER/MENTOR)

Youth apprentices must demonstrate key employability skills.

The DWD YA program employability skills requirement may be attained and demonstrated through two processes. (See options listed below.) Employability skills must be completed for every year a student is in the program.  The DPI Employability Skills Certificate may be counted as meeting one of those two years, provided the certificate is earned in the same year the student is enrolled in youth apprenticeship or they can complete the YA Employability Skills in the OJL. The Employability Skills Certificate must be obtained through the DPI.

- If a student has successfully completed a Wisconsin Department of Public Instruction (DPI) State-Certified Cooperative Education, Co-Op Employability Skill certification then they have met the YA Employability Skills requirement for that year. A copy of the student’s DPI Co-Op Employability Skill Certificate must be maintained on file with their YA regional consortium.

Earned Wisconsin Employability Skills Certificate (checked if applicable) or,

- Completed and rated “Employability Skills” through this YA OJL guide as described below.

| 3 | Exceeds Expectations: Exceeds entry-level criteria; requires minimal supervision; consistently displays this behavior |
| --- | --- |
| 2 | Meets Expectations: Meets entry-level criteria; requires some supervision; often displays this behavior |
| 1 | Working to Meet Expectations: Needs improvement; requires much assistance and supervision; rarely displays this behavior |

The following skills are required of all youth apprentices.

|  | Employability Skills | Rating |  |  |
| --- | --- | --- | --- | --- |
| Competency and Rating Criteria |  | Minimum Rating of 2 for EACH Check Rating |  |  |
|  |  | 1 | 2 | 3 |
| - Develops positive work relationships with others. Examples of qualities and habits that the employee might exhibit include . . . - Interacts with others with respect and in a non-judgmental manner - Responds to others in an appropriate and non-offensive manner - Helps co-workers and peers accomplish tasks or goals - Applies problem-solving strategies to improve relations with others - When managing others, shows traits such as compassion, listening, coaching, team development, and appreciation |  | Year 1 Rating |  |  |
|  |  | Year 2 Rating |  |  |
| - Communicates effectively with others Examples of qualities and habits that the employee might exhibit include . . . - Adjusts the communication approach for the target audience, purpose, and situation to maximize impact - Organizes messages/information in a logical and helpful manner - Speaks clearly and writes legibly - Models behaviors to show active listening - Applies what was read to actual practice - Asks appropriate questions for clarity |  | Year 1 Rating |  |  |
|  |  | Year 2 Rating |  |  |
| - Collaborates with others Examples of qualities and habits that the employee might exhibit include . . . - Works effectively in teams with people of diverse backgrounds regardless of sex, race, ethnicity, nationality, sexuality, religion, political views, and abilities - Shares responsibility for collaborative work and decision making - Uses the problem-solving process to work through differences of opinion in a constructive manner to achieve a reasonable compromise - Avoids contributing to an unproductive group conflict Shares information and carries out responsibilities in a timely manner |  | Year 1 Rating |  |  |
|  |  | Year 2 Rating |  |  |
| - Maintains composure under pressure Examples of qualities and habits that the employee might exhibit include . . . - Uses critical thinking to determine the best options or outcomes when faced with a challenging situation - Carries out assigned duties while under pressure - Acts in a respectful, professional, and non-offensive manner while under pressure - Applies stress management techniques to cope under pressure |  | Year 1 Rating |  |  |
|  |  | Year 2 Rating |  |  |
| - Demonstrates integrity Examples of qualities and habits that the employee might exhibit include . . . - Carries out responsibilities in an ethical, legal and confidential manner - Responds to situations in a timely manner - Takes personal responsibility to correct problems - Models behaviors that demonstrate self-discipline, reliability, and dependability |  | Year 1 Rating |  |  |
|  |  | Year 2 Rating |  |  |

| Employability Skills | Rating |  |  |
| --- | --- | --- | --- |
| - Performs quality work Examples of qualities and habits that the employee might exhibit include . . . - Carries out written and verbal directions accurately - Completes work efficiently and effectively - Performs calculations accurately - Conserves resources, supplies, and materials to minimize costs and environmental impact - Uses equipment, technology, and work strategies to improve workflow - Applies problem-solving strategies to improve productivity - Adheres to worksite regulations and practices - Maintains an organized work area | Year 1 Rating |  |  |
|  | Year 2 Rating |  |  |
| - Provides quality goods or services (internal and external) Examples of qualities and habits that the employee might exhibit include . . . - Shows support for the organizational goals and principles by own personal actions - Displays a respectful and professional image to customers - Displays an enthusiastic attitude and desire to take care of customer needs - Seeks out ways to increase customer satisfaction - Produces goods to workplace specifications | Year 1 Rating |  |  |
|  | Year 2 Rating |  |  |
| - Shows initiative and self-direction Examples of qualities and habits that the employee might exhibit include . . . - Prioritizes and carries out responsibilities without being told - Responds with enthusiasm and flexibility to handle tasks that need immediate attention - Reflects on any unsatisfactory outcome as an opportunity to learn - Improves personal performance by doing something different or differently - Analyzes how own actions impact the overall organization - Supports own action with sound reasoning and principles - Balances personal activities to minimize interference with work responsibilities | Year 1 Rating |  |  |
|  | Year 2 Rating |  |  |
| - Adapts to change Examples of qualities and habits that the employee might exhibit include . . . - Shows flexibility and willingness to learn new skills for various job roles - Uses problem-solving and critical-thinking skills to cope with changing circumstances - Modifies own work behavior based on feedback, unsatisfactory outcomes, efficiency, and effectiveness - Displays a "can do" attitude | Year 1 Rating |  |  |
|  | Year 2 Rating |  |  |
| Employability Skills | Rating |  |  |
| - Demonstrates safety and security regulations and practices Examples of qualities and habits that the employee might exhibit include . . . - Follows personal safety requirements - Maintains a safe work environment - Demonstrates professional role in an emergency - Follows security procedures - Maintains confidentiality | Year 1 Rating |  |  |
|  | Year 2 Rating |  |  |
| - Applies job-related technology, information, and media Examples of qualities and habits that the employee might exhibit include . . . - Applies technology effectively in the workplace - Assesses and evaluates information on the job - Assesses training manuals, website, and other media related to the job | Year 1 Rating |  |  |
|  | Year 2 Rating |  |  |
| - Fulfills training or certification requirements for employment Examples of this requirement may include . . . - Participation in required career-related training and/or educational programs - Passing certification tests to qualify for licensure and/or certification - Participation in company training or orientation | Year 1 Rating |  |  |
|  | Year 2 Rating |  |  |
| - Sets personal goals for improvement Examples of this requirement may include . . . - Setting goals that are specific and measurable - Setting work-related goals that align with the organization's mission - Identifying strategies to reach goals - Reflecting on goal progress to regularly evaluate and modify goals | Year 1 Rating |  |  |
|  | Year 2 Rating |  |  |

# YEAR 1 occupational Competencies 
(TO BE COMPLETED BY yA EMPLOYER/MENTOR)

Youth apprentices must complete a total of 11 competencies. Ten must be from the list below. If necessary, employers can substitute 1 competency with another occupationally appropriate skill. That skill should be added to the competency list for assessment.

Rating Scale

3: Exceeds entry level criteria | Requires minimal supervision | Consistently displays this behavior

2: Meets entry level criteria | Requires some supervision | Often displays this behavior

1: Needs improvement | Requires much assistance and supervision | Rarely displays this behavior

If any competencies are rated "1" on the final performance review checklist that is submitted to WI DWD it is considered a failed checklist.

| Occupational Competencies | Ratings |  |  |
| --- | --- | --- | --- |
| Competency and Rating Criteria | Minimum Rating of 2 for EACH Check Rating |  |  |
|  | 1 | 2 | 3 |
| ###### Interpret work order - use work order to plan work - identify procedures to be completed - follow work order to complete the work |  |  |  |
| ###### Create work order - work order is entered into the computer - work order includes all the key information - work order is accurate |  |  |  |
| ###### Monitor operating conditions, meters, pumps, and gauges - operate the flow measuring device - monitor alarm systems - follow site-specific alarm procedures - identify alarm locations - respond to alarms - document results |  |  |  |
| ###### Collect operational data - obtain operational data - collect and store samples for testing - download data from meters and data loggers to computer databases - perform physical measurements and process control calculations |  |  |  |
| ###### Use operations software (such as SCADA, PLC, DBs) - locate file - add and edit data - query data - verify data - monitor processes |  |  |  |
| ###### Perform basic facility maintenance - don appropriate personal protective equipment (PPE) - perform cleaning - use appropriate cleaning solutions |  |  |  |
| ###### Collect samples - wear proper personal protective equipment (PPE) - setup sampling equipment and materials - setup field testing equipment, materials, etc. (test kits) - identify proper method and container for sample - label sample or container - collect required amount of sample - store sample as required - preserve chain of custody |  |  |  |
| ###### Measure weight - select the appropriate equipment and materials for the measurement - calculate the accuracy and standard deviation of your values - record measurements in appropriate units and significant figures |  |  |  |
| ###### Measure volume - select the appropriate container for measuring volume - measure using graduated cylinders - measure using serological pipettes - measure using micro pipettors - record measurements in appropriate units and amount of significant figures |  |  |  |
| ###### Perform calculations and conversions - select appropriate formula - perform the calculation - verify accuracy - convert flow rates - record calculations or conversions |  |  |  |
| ###### Conduct basic lab tests - select and setup equipment and supplies - prepare reagents, solutions, and/or buffers - prepare quality control samples as needed - prepare sample for testing - test the sample - record results - clean glassware and instruments - segregate, recycle, or dispose of waste following facility guidelines - apply standard precautions - document testing results |  |  |  |
| ###### Competency Substitute (if you replaced a competency above, note the competency and rating) |  |  |  |
| Comments: |  |  |  |

# YEAR 2 Occupational COMPETENCIES 
(TO BE COMPLETED BY yA EMPLOYER/MENTOR)

Year two youth apprentices must complete a total of 12 competencies. Eleven must be from the list below. If necessary, employers can substitute 1 competency with another occupationally appropriate skill. That skill should be added to the competency list for assessment.

Rating Scale

3: Exceeds entry level criteria | Requires minimal supervision | Consistently displays this behavior

2: Meets entry level criteria | Requires some supervision | Often displays this behavior

1: Needs improvement | Requires much assistance and supervision | Rarely displays this behavior

If any competencies are rated "1" on the final performance review checklist that is submitted to WI DWD it is considered a failed checklist.

| Occupational Competencies | Ratings |  |  |
| --- | --- | --- | --- |
| Competency and Rating Criteria | Minimum Rating of 2 for EACH Check Rating |  |  |
|  | 1 | 2 | 3 |
| ###### Assist with report submissions - obtain data and information - complete forms - obtain authorizations as indicated - submit reports |  |  |  |
| ###### Prepare chemicals - perform calculations and conversions as needed - determine the concentration and amount required - mix the proper concentration of solutions from solids and/or liquids - test and adjust pH or concentration if required - label and store prepared item as required per protocol - document chemical preparation as required - clean up |  |  |  |
| ###### Add chemicals to systems - confirm chemical required - verify chemical is properly mixed and within expiration date - transport chemical to system site for addition to system - add chemical to system site - document chemical addition as required - transport, store, and dispose of materials as indicated |  |  |  |
| ###### Perform start-up and shut down of pumps and equipment - check equipment fluid, air, pressure levels as required - set equipment settings as required - monitor start-up as required to ensure correct operation - shut-down equipment safely - identify any process or equipment maintenance concerns - take corrective action to report and correct maintenance concerns |  |  |  |
| ###### Inspect operational equipment - inspect equipment for function and damage - assist to troubleshoot and repair equipment problems - take corrective actions - lockout/tag out equipment that is inoperable - document inspection |  |  |  |
| ###### Troubleshoot basic operations - regularly review quality control indicators for water treatment operations - assist to analyze lab results - assist to analyze operational data for productivity/trends - take corrective actions for item out of compliance following required protocol - adjust processes for water treatment as required (add chemicals, adjust equipment rates, etc.) - document operational correction |  |  |  |
| ###### Analyze lab results - collect data and results from testing - select and use statistical tools to analyze and synthesize data - create tables and graphs to organize data - query and extract information from data - interpret graphs and the trends in data - use tools to manipulate data creating models, reports, plans, processes, or projects from data provided - document analysis process and tools used - draw conclusions based on analysis with worksite professional - assist to troubleshoot operations and adjust processes based on lab results |  |  |  |
| ###### Maintain schedules, communication, and documentation - update schedules as maintenance is completed - communicate maintenance and repair needs clearly - use the correct reporting formats for documentation and communication - document maintenance and repair activities accurately - maintenance is documented clearly and completely |  |  |  |
| ###### Perform preventive maintenance (PM) - ensure that equipment is properly labeled and pulled from production use - follow appropriate Lockout/Tag Out procedures prior to performing PM - follow all safety requirements and wear appropriate personal protective equipment (PPE) as required - document preventative actions completed |  |  |  |
| ###### Calibrate equipment - clean and adjust instruments before calibrating - calibrate tools and instruments accurately and correctly - promptly re-calibrate tools out of calibration - re-qualify tools and instruments sent out for recalibration or repairs - label tools and equipment that have been calibrated - document all calibration activities |  |  |  |
| ###### Troubleshoot and repair equipment - ensure that equipment is properly labeled and pulled from production use (Lock Out/Tag Out) - follow all safety requirements and wear appropriate personal protective equipment (PPE) as required - take appropriate readings using meters and testing equipment - determine the cause of the problems reported - assist with basic repair - assist to re-qualify equipment - document testing, evaluation, repair, and requalification |  |  |  |
| ###### Analyze operational data for productivity/trends - obtain questionable or out of compliance data and reports - define question/problem to be evaluated - select data analysis tool - collect additional data if needed - organize data using quality tools - analyze lab results and other operational data - assist to troubleshoot operations and adjust processes based on analysis |  |  |  |
| ###### Competency Substitute (if you replaced a competency above, note the competency and rating) |  |  |  |
| Comments: |  |  |  |

|  | Post-Program Completion Survey Youth Apprenticeship |
| --- | --- |

# YA Post-Program Completion survey: Employer Feedback

Employers complete the following information.  YA Coordinators will enter this into the Post-Program Completion Survey.

| YA Employer Post-Program Completion Questions |  |
| --- | --- |
| Will you offer or have you offered the Youth Apprentice a continuing position with your company? | Yes No |
| If continuing position offered to youth apprentice, did they accept? | Yes No |
| If yes, please answer the questions below: |  |
| Was the offer for full time or part time work? | Full-time Part-time |
| Title of the position offered: |  |
| What is the wage of the continuing employment offer? |  |
| If applicable, will the youth apprentice advance to a Registered Apprenticeship? |  |

# YA Post-Program Completion survey completed by YA consortium

The Post-Program Completion Survey form is to be provided to each student completing the Youth Apprenticeship program to capture information on the student's plans after leaving the program. This form should be completed by the Youth Apprenticeship Coordinator to capture information from all high school seniors and their employers after successful completion of the Youth Apprenticeship Program.

The form should be completed during the final meeting between the student, mentor, and Youth Apprenticeship Coordinator, when the final checklist or On-the-Job Learning (OJL) Guide is filled out and signed. Information captured on this form must be entered online using the Youth Apprenticeship Online Data Application (YODA) System.

No part of this document may be altered, duplicated, or extracted without written consent from the Wisconsin Department of Workforce Development (DWD).

DWD is an equal opportunity employer and service provider. If you have a disability and need assistance with this information, please dial 7-1-1 for Wisconsin Relay Service. Please contact the Division of Employment and Training at 888-258-9966 and press 6 to request information in an alternate format, including translated to another language.