|  | Medical Laboratory Assistant Youth Apprenticeship |
| --- | --- |

# Medical Laboratory Assistant

A Medical Laboratory Assistant youth apprentice performs specimen collection, transport, and processing of fluids for analysis. Youth apprentices pay attention to pre-analytical factors which compromise the accuracy of test results.

Length of Apprenticeship: One year

# occupational Competencies

Youth apprentices must complete a total of 10 competencies.  Nine must be from the list below. If necessary, employers can substitute 1 competency with another occupationally appropriate skill. That skill should be added to the competency list for assessment.

Competencies

- Apply standard precautions and infection prevention controls - Maintain inventory - Prepare supplies, instruments, and equipment for use - Perform pre-analytical procedures - Operate lab equipment (i.e., centrifuge, incubators, water bath) - Assist in performing Clinical Laboratory Improvement Amendments (CLIA) waived tests - Dispose of biohazardous waste - Perform clerical tasks - Respect patient confidentiality - Perform post-analytical procedures

# Registered Apprenticeship Bridging Opportunities

The following Registered Apprenticeship is available in this area:

- Medical Assistant

# Post-Secondary Pathway Opportunities

There are several post-secondary pathway opportunities in this area. The following is a partial list.

- Laboratory Technician

- Medical Laboratory Technician

- Phlebotomist

|  | Medical Laboratory Assistant Youth Apprenticeship On-the-Job Learning Performance Standards Guide (tO BE COMPLETED BY ya cONSORTIUM) |
| --- | --- |

# Youth Apprentice information

| Youth Apprentice Name |  |
| --- | --- |
| YA Coordinator | YA Consortium |
| School District | High School Graduation Date |

# Requirements

Level One Requirements

Youth apprentices must complete ALL the items listed below. Check completed areas.

Competency checklist

Employability Skills checklist (in this OJL Guide) or the DPI Employability Skills Certificate

Related instruction equal to 1 high school credit or at least 3 college credits

Minimum of 450 work hours

# Hours

Record the hours the youth apprentice worked.

| Total Hours Employed | Company Name | Telephone Number |
| --- | --- | --- |

# Related Instruction

YEAR 1: Indicate which related instruction courses the youth apprentice completed.

| Dual Credit | Course Number and Title | Credits | Instruction Provider |
| --- | --- | --- | --- |

# SIGNATURES

The On-the-Job Learning Performance Standards Guide includes a list of competencies youth apprentices learn through mentoring and training at the worksite.

Instructions for the Worksite Employers/Mentors and School-Based or YA coordinators: This document should be reviewed with the employer/mentor, school-based or YA coordinator on a regular basis with the youth apprentice to record progress and plan future steps to ensure completion of the required competencies. Mentors, school-based/YA coordinator, and the apprentice sign below.

| Employer/Mentor Signature | Employer/Mentor Signature |
| --- | --- |
| Employer/Mentor | Employer/Mentor |
| Business/Company | Business/Company |
| Date Signed | Date Signed |
| School-Based and/or YA Coordinator Signature | School-Based and/or YA Coordinator Signature |
| School-Based and/or YA Coordinator | School-Based and/or YA Coordinator |
| School District or Organization | School District or Organization |
| Date Signed | Date Signed |
| Youth Apprentice Signature | Youth Apprentice Signature |
| Youth Apprentice | Youth Apprentice |
| School District / High School | School District / High School |
| Date Signed | Date Signed |

# employability Skills (TO BE COMPLETED BY yA EMPLOYER/MENTOR)

Youth apprentices must demonstrate key employability skills.

The DWD YA program employability skills requirement may be attained and demonstrated through two processes. (See options listed below.) Employability skills must be completed for every year a student is in the program.  The DPI Employability Skills Certificate may be counted as meeting one of those two years, provided the certificate is earned in the same year the student is enrolled in youth apprenticeship or they can complete the YA Employability Skills in the OJL. The Employability Skills Certificate must be obtained through the DPI.

- If a student has successfully completed a Wisconsin Department of Public Instruction (DPI) State-Certified Cooperative Education, Co-Op Employability Skill certification then they have met the YA Employability Skills requirement for that year.  A copy of the student’s DPI Co-Op Employability Skill Certificate must be maintained on file with their YA regional consortium.

Earned Wisconsin Employability Skills Certificate (checked if applicable) or,

- Completed and rated “Employability Skills” through this YA OJL guide as described below.

| 3 | Exceeds Expectations: Exceeds entry-level criteria; requires minimal supervision; consistently displays this behavior |
| --- | --- |
| 2 | Meets Expectations: Meets entry-level criteria; requires some supervision; often displays this behavior |
| 1 | Working to Meet Expectations: Needs improvement; requires much assistance and supervision; rarely displays this behavior |

The following skills are required of all youth apprentices.

|  | Employability Skills | Rating |  |  |
| --- | --- | --- | --- | --- |
| Competency and Rating Criteria |  | Minimum Rating of 2 for EACH Check Rating |  |  |
|  |  | 1 | 2 | 3 |
| - Develops positive work relationships with others. Examples of qualities and habits that the employee might exhibit include . . . - Interacts with others with respect and in a non-judgmental manner - Responds to others in an appropriate and non-offensive manner - Helps co-workers and peers accomplish tasks or goals - Applies problem-solving strategies to improve relations with others - When managing others, shows traits such as compassion, listening, coaching, team development, and appreciation |  |  |  |  |
| - Communicates effectively with others Examples of qualities and habits that the employee might exhibit include . . . - Adjusts the communication approach for the target audience, purpose, and situation to maximize impact - Organizes messages/information in a logical and helpful manner - Speaks clearly and writes legibly - Models behaviors to show active listening - Applies what was read to actual practice - Asks appropriate questions for clarity |  |  |  |  |
| - Collaborates with others Examples of qualities and habits that the employee might exhibit include . . . - Works effectively in teams with people of diverse backgrounds regardless of sex, race, ethnicity, nationality, sexuality, religion, political views, and abilities - Shares responsibility for collaborative work and decision making - Uses the problem-solving process to work through differences of opinion in a constructive manner to achieve a reasonable compromise - Avoids contributing to an unproductive group conflict - Shares information and carries out responsibilities in a timely manner |  |  |  |  |
| - Maintains composure under pressure Examples of qualities and habits that the employee might exhibit include . . . - Uses critical thinking to determine the best options or outcomes when faced with a challenging situation - Carries out assigned duties while under pressure - Acts in a respectful, professional, and non-offensive manner while under pressure - Applies stress management techniques to cope under pressure |  |  |  |  |
| - Demonstrates integrity Examples of qualities and habits that the employee might exhibit include . . . - Carries out responsibilities in an ethical, legal and confidential manner - Responds to situations in a timely manner - Takes personal responsibility to correct problems - Models behaviors that demonstrate self-discipline, reliability, and dependability |  |  |  |  |
| - Performs quality work Examples of qualities and habits that the employee might exhibit include . . . - Carries out written and verbal directions accurately - Completes work efficiently and effectively - Performs calculations accurately - Conserves resources, supplies, and materials to minimize costs and environmental impact - Uses equipment, technology, and work strategies to improve workflow - Applies problem-solving strategies to improve productivity - Adheres to worksite regulations and practices - Maintains an organized work area |  |  |  |  |
| - Provides quality goods or services (internal and external) Examples of qualities and habits that the employee might exhibit include . . . - Shows support for the organizational goals and principles by own personal actions - Displays a respectful and professional image to customers - Displays an enthusiastic attitude and desire to take care of customer needs - Seeks out ways to increase customer satisfaction - Produces goods to workplace specifications |  |  |  |  |
| - Shows initiative and self-direction Examples of qualities and habits that the employee might exhibit include . . . - Prioritizes and carries out responsibilities without being told - Responds with enthusiasm and flexibility to handle tasks that need immediate attention - Reflects on any unsatisfactory outcome as an opportunity to learn - Improves personal performance by doing something different or differently - Analyzes how own actions impact the overall organization - Supports own action with sound reasoning and principles - Balances personal activities to minimize interference with work responsibilities |  |  |  |  |
| - Adapts to change Examples of qualities and habits that the employee might exhibit include . . . - Shows flexibility and willingness to learn new skills for various job roles - Uses problem-solving and critical-thinking skills to cope with changing circumstances - Modifies own work behavior based on feedback, unsatisfactory outcomes, efficiency, and effectiveness - Displays a "can do" attitude |  |  |  |  |
| - Demonstrates safety and security regulations and practices Examples of qualities and habits that the employee might exhibit include . . . - Follows personal safety requirements - Maintains a safe work environment - Demonstrates professional role in an emergency - Follows security procedures - Maintains confidentiality |  |  |  |  |
| - Applies job-related technology, information, and media Examples of qualities and habits that the employee might exhibit include . . . - Applies technology effectively in the workplace - Assesses and evaluates information on the job - Assesses training manuals, website, and other media related to the job |  |  |  |  |
| - Fulfills training or certification requirements for employment Examples of this requirement may include . . . - Participation in required career-related training and/or educational programs - Passing certification tests to qualify for licensure and/or certification - Participation in company training or orientation |  |  |  |  |
| - Sets personal goals for improvement Examples of this requirement may include . . . - Setting goals that are specific and measurable - Setting work-related goals that align with the organization's mission - Identifying strategies to reach goals - Reflecting on goal progress to regularly evaluate and modify goals |  |  |  |  |

# OCCUPATIONAL Competencies 
(TO BE COMPLETED BY yA EMPLOYER/MENTOR)

Youth apprentices must complete a total of 10 competencies.  Nine must be from the list below. If necessary, employers can substitute 1 competency with another occupationally appropriate skill. That skill should be added to the competency list for assessment.

Rating Scale

3: Exceeds entry level criteria | Requires minimal supervision | Consistently displays this behavior

2: Meets entry level criteria | Requires some supervision | Often displays this behavior

1: Needs improvement | Requires much assistance and supervision | Rarely displays this behavior

If any competencies are rated "1" on the final performance review checklist that is submitted to WI DWD it is considered a failed checklist.

| Occupational Competencies | Rating |  |  |
| --- | --- | --- | --- |
| Competency and Rating Criteria | Minimum Rating of 2 for EACH Check Rating |  |  |
|  | 1 | 2 | 3 |
| ###### Apply standard precautions and infection prevention controls - put on and dispose of appropriate personal protective equipment (PPE) properly - perform hand hygiene - handle needles and sharp devices safely to prevent injury - clean and disinfect areas and equipment according to facility policy - handle linens and all equipment to minimize the spread of infection - follow isolation procedures when needed - safely dispose of bio-hazardous materials |  |  |  |
| ###### Maintain inventory - receive orders - stock orders - perform cycle counts - report discrepancies |  |  |  |
| ###### Prepare supplies, instruments, and equipment for use - clean items - prepare work area - load reagents |  |  |  |
| ###### Perform pre-analytical procedures - load specimen for analysis - load centrifuge - collect specimens - label specimens - document collection and receipt of specimens - sort specimens - distribute specimens |  |  |  |
| ###### Operate lab equipment (i.e., centrifuge, incubators, water bath) - choose correct equipment for the task - verify equipment is current for preventative maintenance and/or calibration - verify safety requirements and any personal protective equipment (PPE) needed for equipment use - set up and prepare equipment for safe operation - monitor equipment for safe operation while operating - follow protocol for cleanup and shut down after use - follow lockout/tagout procedures as applicable |  |  |  |
| ###### Assist in performing Clinical Laboratory Improvement Amendments (CLIA) waived tests - select the correct test kit - assist with test setup - locate and identify specimen to be tested - observe the testing interpretation - document testing - clean supplies and instruments - dispose of contaminated materials |  |  |  |
| ###### Dispose of biohazardous waste - place the waste in an appropriate container - weigh the waste - label the waste - store the waste as required |  |  |  |
| ###### Perform clerical tasks - log quality control results - perform filing - answer phones |  |  |  |
| ###### Respect patient confidentiality - explain patient rights - identify examples of violation of patient confidentiality - share patient information only with people who need to know - dispose of paper documents following company policy - report breaches of confidentiality |  |  |  |
| ###### Perform post-analytical procedures - track and locate specimens - store specimens - discard specimens |  |  |  |
| ###### Competency Substitute (if you replaced a competency above, note the competency and rating) |  |  |  |
| Comments: |  |  |  |

|  | Post-Program Completion Survey Youth Apprenticeship |
| --- | --- |

# YA Post-Program Completion survey: Employer Feedback

Employers complete the following information.  YA Coordinators will enter this into the Post-Program Completion Survey.

| YA Employer Post-Program Completion Questions |  |
| --- | --- |
| Will you offer or have you offered the Youth Apprentice a continuing position with your company? | Yes No |
| If continuing position offered to youth apprentice, did they accept? | Yes No |
| If yes, please answer the questions below: |  |
| Was the offer for full time or part time work? | Full-time Part-time |
| Title of the position offered: |  |
| What is the wage of the continuing employment offer? |  |
| If applicable, will the youth apprentice advance to a Registered Apprenticeship? |  |

# YA Post-Program Completion survey: completed by YA consortium

The Post-Program Completion Survey form is to be provided to each student completing the Youth Apprenticeship program to capture information on the student's plans after leaving the program. This form should be completed by the Youth Apprenticeship Coordinator to capture information from all high school seniors and their employers after successful completion of the Youth Apprenticeship Program.

The form should be completed during the final meeting between the student, mentor, and Youth Apprenticeship Coordinator, when the final checklist or On-the-Job Learning (OJL) Guide is filled out and signed. Information captured on this form must be entered online using the Bureau of Apprenticeship Standards Electronic Records System (BASERS).

No part of this document may be altered, duplicated, or extracted without written consent from the Wisconsin Department of Workforce Development (DWD).

DWD is an equal opportunity employer and service provider. If you have a disability and need assistance with this information, please dial 7-1-1 for Wisconsin Relay Service. Please contact the Division of Employment and Training at 888-258-9966 and press 6 to request information in an alternate format, including translated to another language.